## Slide 1: Helinks STS Top Down IEC 61850 Engineering

## Slide 2
Joerg Reuter,
jr@helinks.com,
+41 76 340 8089
HELINKS LLC,
Zug Switzerland
HELINKS provides IED vendor independent IEC 61850 engineering tools

## Slide 3: Scope of Helinks STS
HELINKS STS
IED
Configuration Tool
PDIS
IED
System
IntegrationTool
System
Specification
Tool
SCL

## Slide 4: IEC 61850 Top Down Process
HELINKS STS
System Specification
Tool
System Configuration
Tool
IED
Configuration
Tool
SCD
CID
SSD
SCD
Doc
ICD
Doc
IID

## Slide 5: Classical Project Engineering Process
Excel
&
VBA
IED
Configuration Tool
PDIS
IED
IED
Configuration Tool
PDIS
IED
IED
Configuration Tool
PDIS
IED
IED
Configuration Tool
PDIS
IED
IED
Configuration Tool
PDIS
IED
CID
CID
CID
CID
CID
CID
Informal Specification
Informal Design
Bottom Up Engineering
Excel,
Visio
&
MS Word
Design
Standards

## Slide 6: Engineering Efficiency
IEC 61850 SCL Data Flow
HELINKS STS
Specification
Design
System Engineering
SCD
System Configuration
Tool
IED
Configuration
Tool
CID
ICD
Doc
IID
ICD
CID
System Specification
Tool
Fully automated
communication configuration
Specification
Libraries
Engineering
Libraries
Specification is created just by drawing the Single Line !
Drop IED’s into the project. STS automatically allocates Logical Nodes and Signals.
Communication configuration is fully automated.
Notes: In times of Edition 1 of the standard engineers were generally forced to use the « CID centered process » because of tool interoperability problems between the available SCTs and ICTs. That is why we called this approach « De Facto ».
Edition 2 and the IOPs of 2013 and 2015 helped to improve this shortcome. Today we find more and more projects following the SCT based approach. We will not go into the details of both processes. This is out of the scope of this paper.
Let us come back to the different approaches for specification and design and start with the « Informal Design »

## Slide 7: Example Application:Reverse Blocking
Reverse blocking
Trigger Breaker Failure
Control LV
Transformer Protection Main 1
Feeder Control
Feeder Protection
Feeder Control
Feeder Protection

## Slide 9: How can we support you?
IEC61850 basics training and engineering training
HELINKS STS tool training
Project participation and coaching (pilot projects and production)
Custom developments ( Utility Packages)
Thank you for joining
at this webcast.