## Default
Sort Key | Substation | Short Name Substation | Bay Name | SSEN Voltage Level Reference | SSEN Bay Reference | Plant | Device Model | IP@ & Mask (/23=255.255.254.0 /24=255.255.255.0) | IED Role | IED Name | Indication Group | Function | Description | HMI Dataset Inclusion | TCC Dataset Inclusion | TCC DNP3 Address Required | TCC Voltage | TCC Circuit | TCC Group Name | HMI Description | Reaction Matrix | HMI Circuit Reference | Future Use | 61850 Data Type | DNP3 Data Type (Static Object) | HMI (Copadata) Data Type | 61850 Address with Functional Constraint | Full 61850 Path | DNP3 Address | Test Result | Added | Deleted | Changed | HMI_Variable_Element | Copadata_Variable_Name | HMI Presentation Text
Note on AK1: RTSD: The Copdata Variable Name is to be configured to contain the operating voltage of 400kV, despite the interim operating voltage of 275kV, this is to reduce future rework during the future 400kV upgrade, N.B. this does not apply to the HMI Presentation Text (see comments on the relevant column)