## Goose History
Version | What | When | Who | Why
V0 | History file created | Fri Nov 08 11:49:35 EST 2019 | System | History reset
V1 | IOP2019 SLD | Thu Feb 06 13:33:06 EST 2020 | MK | IOP2019_EX
V2 | Function Specification | Thu Feb 06 13:33:59 EST 2020 | MK | IOP2019_EX_Task02
V2 | MAC Address not specified for applications yet | Thu Feb 06 15:06:04 EST 2020 | MK | Function Specification
V2 | Added additional GOOSE configuration settings | Thu Feb 06 15:10:06 EST 2020 | MK | Function Specification
V2 | Finished GOOSE CBRF LV spec | Thu Feb 06 17:14:27 EST 2020 | MK | Function Specification
V3 | GOOSE for protection functions for LV | Fri Feb 07 09:43:54 EST 2020 | MK | Function specification LV
V3 | Finished GOOSE Protection_LV | Fri Feb 07 09:53:16 EST 2020 | MK | Communication Specification LV
V4 | Start GOOSE BRF for HV | Fri Feb 07 09:54:40 EST 2020 | MK | Communication Specification HV
V4 | Finished BRF GOOSE for HV | Fri Feb 07 10:37:16 EST 2020 | MK | Communication Specification HV
V5 | Start GOOSE Recloser LV | Fri Feb 07 11:27:58 EST 2020 | MK | Communication Specification HV
V5 | Finished GOOSE Recloser HV | Fri Feb 07 11:35:31 EST 2020 | MK | Communication Specification HV
V6 | Start GOOSE Protection HV | Fri Feb 07 11:50:50 EST 2020 | MK | Communciation Specification HV

## Goose Matrix
IOP GOOSE | NLS missing message: GSE_CONTROL_APPID in: com.helinks.scl.bld.messages_en | NLS missing message: APP_ID in: com.helinks.scl.bld.messages_en | NLS missing message: FUNCTION in: com.helinks.scl.bld.messages_en | NLS missing message: LOGICAL_DEVICE in: com.helinks.scl.bld.messages_en | NLS missing message: PREFIX in: com.helinks.scl.bld.messages_en | NLS missing message: LOGICAL_NODE in: com.helinks.scl.bld.messages_en | NLS missing message: INSTANCE in: com.helinks.scl.bld.messages_en | NLS missing message: DATA_ATTRIBUTE in: com.helinks.scl.bld.messages_en | K1IncA1PUBCU | K1IncB1PUBCU | K1BT1PU | K1BT1BCU
K1IncA1PUBCU | BF | 0006 | BF | PRO | BFR1 | RBRF | 1 | OpEx.general |  |  |  | x
|  |  | BF | PRO | BFR1 | RBRF | 1 | OpEx.q |  |  |  | x
| Protection | 0001 | Protection | PRO | TRIP | PTRC | 1 | Tr.general |  |  |  | x
|  |  | Protection | PRO | TRIP | PTRC | 1 | Tr.q |  |  |  | x
K1IncA1PUBCU | BF | 0006 | BF | PRO | BFR1 | RBRF | 1 | OpEx.general |  |  |  | x
|  |  | BF | PRO | BFR1 | RBRF | 1 | OpEx.q |  |  |  | x
| Protection | 0001 | Protection | PRO | TRIP | PTRC | 1 | Tr.general |  |  |  | x
|  |  | Protection | PRO | TRIP | PTRC | 1 | Tr.q |  |  |  | x
K1IncB1PUBCU | BF | 0004 | BF | PROT | CC | RBRF | 1 | OpEx.general |  |  |  | x
|  |  | BF | PROT | CC | RBRF | 1 | OpEx.q |  |  |  | x
| Protection | 0005 | Protection | OC4_1 | PH3 | PTRC | 1 | Op.general |  |  |  | x
|  |  | Protection | OC4_1 | PH3 | PTRC | 1 | Op.q |  |  |  | x
K1IncB1PUBCU | BF | 0004 | BF | PROT | CC | RBRF | 1 | OpEx.general |  |  |  | x
|  |  | BF | PROT | CC | RBRF | 1 | OpEx.q |  |  |  | x
| Protection | 0005 | Protection | OC4_1 | PH3 | PTRC | 1 | Op.general |  |  |  | x
|  |  | Protection | OC4_1 | PH3 | PTRC | 1 | Op.q |  |  |  | x
K1BT1PU | BF | 0002 | BF | Prot | BkrFa | RBRF | 1 | OpEx.general | x | x
|  |  | BF | Prot | BkrFa | RBRF | 1 | OpEx.q | x | x
| Protection | 0003 | Protection | Prot | PhsToc | PTOC | 2 | Str.general | x | x
|  |  | Protection | Prot | PhsToc | PTOC | 2 | Str.q | x | x
|  |  | Protection | Prot | PhsToc | PTOC | 1 | Str.general | x | x
|  |  | Protection | Prot | PhsToc | PTOC | 1 | Str.q | x | x
K1BT1PU | BF | 0002 | BF | Prot | BkrFa | RBRF | 1 | OpEx.general | x | x
|  |  | BF | Prot | BkrFa | RBRF | 1 | OpEx.q | x | x
| Protection | 0003 | Protection | Prot | PhsToc | PTOC | 2 | Str.general | x | x
|  |  | Protection | Prot | PhsToc | PTOC | 2 | Str.q | x | x
|  |  | Protection | Prot | PhsToc | PTOC | 1 | Str.general | x | x
|  |  | Protection | Prot | PhsToc | PTOC | 1 | Str.q | x | x