## Project History
Version | What | When | Who | Why
V0 | History file created | Fri Nov 08 11:49:35 EST 2019 | System | History reset

## IED Status
Name | IED Type | Manufacturer | Edition | IP Address | Config. Rev. | Bay | Created | Last Update | Description | Conf. Status | Load Status | SCD Version | Locked | Original File
K1IncA1TXA1MU02 | PMU010000 | Vizimax | 2007 B | /10.10.0.3 | 1.3 | IncA1 | 2020.01.21 16:14 | Not set | Vizimax Phasor measurement unit PMU010000 (with IEC61850-9-2 option) NOTE:v1.3 BETA for IOP use | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/PMU010000_v1.3_beta_SCL_Ed2.icd
K1IncA1PUBCU | SEL_451 | SEL | 2007 B | /10.10.0.1 | ICD-451-R400-V0-Z321006-D20170731 | IncA1 | 2020.01.21 16:32 | Not set | 451 Standard R321 or higher | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/SEL45101.ICD
K1IncB1MU | SEL_401 | SEL | 2007 B | /10.10.11.2 | ICD-401-R002-V0-Z400006-D20171101 | IncB1 | 2020.01.21 16:33 | Not set | 401 SV publisher, ICD R002 for FW R400 or higher | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncB/SEL401.ICD
K1IncB1TXB1MU02 | PMU010000 | Vizimax | 2007 B | /10.10.11.3 | 1.3 | IncB1 | 2020.01.21 16:56 | Not set | Vizimax Phasor measurement unit PMU010000 (with IEC61850-9-2 option) NOTE:v1.3 BETA for IOP use | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/PMU010000_v1.3_beta_SCL_Ed2.icd
K1IncB1PUBCU | 670 series | ABB | 2007 B | /10.10.11.1 | RED670ver2.2.1 | IncB1 | 2020.01.21 17:03 | Not set | RED670 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncB/RED670.icd
K1A1PUBCU | F60 | GE Multilin | 2007 B | /10.10.12.1 | 7.90 | A1 | 2020.01.21 17:21 | Not set | UR | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/A1/GE_20190828_-_F60.icd
K1A2MU | SEL_401 | SEL | 2007 B | /10.10.13.2 | ICD-401-R002-V0-Z400006-D20171101 | A2 | 2020.01.22 09:22 | Not set | 401 SV publisher, ICD R002 for FW R400 or higher | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncB/SEL401.ICD
K1A2PUBCU | SEL_451 | SEL | 2007 B | /10.10.13.1 | ICD-451-R400-V0-Z321006-D20170731 | A2 | 2020.01.22 09:26 | Not set | 451 Standard R321 or higher | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/SEL45101.ICD
K1B1PUBCU | 670 series | ABB | 2007 B | /10.10.14.1 | REC670ver2.2.2 | B1 | 2020.01.22 11:04 | Not set | REC670 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/B1/REC670_04.icd
K1B2PUBCU | 670 series | ABB | 2007 B | /10.10.15.1 | REC670ver2.2.2 | B2 | 2020.01.22 11:17 | Not set | REC670 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/B1/REC670_04.icd
K1BT1PUBCU | REF615 | ABB | 2007 B | /10.10.16.1 | G | BT1 | 2020.01.22 14:56 | Not set | REF615 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/BT/REF615_03.icd
K1IncA1MU | SAM600 | ABB | 2007 B | /10.10.10.2 | 1.0 | IncA1, A1 | 2020.01.27 15:56 | Not set | SAM600-MU | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/ABB_INC_A_MU_Rev2.icd
K1A1MU | SAM600 | ABB | 2007 B | /10.10.12.2 | 1.0 | Not Assigned | 2020.01.27 15:57 | Not set | SAM600-MU | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/ABB_INC_A_MU_Rev2.icd
K1B1MU | SAM600 | ABB | 2007 B | /10.10.14.2 | 1.0 | B1 | 2020.01.27 15:57 | Not set | SAM600-MU | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/ABB_INC_A_MU_Rev2.icd
K1B2MU | SEL_401 | SEL | 2007 B | /10.10.15.2 | ICD-401-R002-V0-Z400006-D20171101 | Not Assigned | 2020.01.27 15:58 | Not set | 401 SV publisher, ICD R002 for FW R400 or higher | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncB/SEL401.ICD
K1XF1PUBCU | SEL_451 | SEL | 2007 B | /10.10.17.1 | ICD-451-R400-V0-Z321006-D20170731 | XF1 | 2020.01.27 16:19 | Not set | 451 Standard R321 or higher | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/SEL45101.ICD
D1L1BCU | 670 series | ABB | 2007 B | /10.11.10.1 | REx670ver2.2.0 | L1 | 2020.01.27 18:01 | Not set | REx670 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/REL670_20170920.icd
D1L1BPU | D60 | GE Multilin | 2007 B | /10.11.10.2 | 7.70 | L1 | 2020.01.27 18:04 | Not set | UR | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/GE_UR_D60_Distance_ED2.icd
D1L1MU | Siprotec-7SX8xx | SIEMENS | 2007 B | /10.11.10.3 | 1.0 | L1 | 2020.01.27 18:05 | Not set |  | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/MU01 V4.02 Side 1.icd
D1L2BPU | P444 | ALSTOM | 2003 A | /10.11.11.2 | P444v70 | L2 | 2020.01.27 18:24 | 2020.01.27 18:25 | P442/P444 Distance protection relay (max configuration) | Configured | Modified | NA | Unlocked | /stg/ICD%20FIles/HV/P444_MCL02.CID
D1L2MUSCU | REF615 | ABB | 2007 B | /10.11.11.3 | G | L2 | 2020.01.28 11:28 | Not set | REF615 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/BT/REF615_03.icd
D1L2BCU | 670 series | ABB | 2007 B | /10.11.11.1 | REC670ver2.2.2 | L2 | 2020.01.28 11:47 | Not set | REC670 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/B1/REC670_04.icd
D1TXA1MUSCU | 7UT86 | SIEMENS | 2007 B | /10.11.12.4 | V08.00.06 | TXA1 | 2020.01.28 12:07 | Not set | 7UT86 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/7UT86.icd
D1TXA1MU03 | PMU010000 | Vizimax | 2007 B | /10.11.12.5 | 1.3 | TXA1 | 2020.01.28 13:05 | Not set | Vizimax Phasor measurement unit PMU010000 (with IEC61850-9-2 option) NOTE:v1.3 BETA for IOP use | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/PMU010000_v1.3_beta_SCL_Ed2.icd
D1TXA1BCU | SEL_487E | SEL | 2003 A | /10.11.12.1 | ICD-487E-R202-V0-Z306005-D20150421 | TXA1 | 2020.01.28 13:46 | Not set | SEL 487E | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/SEL487E_01.ICD
D1TXB1BPU01 | T60 | GE Multilin | 2007 B | /10.11.13.2 | 7.70 | TXB1 | 2020.01.28 15:23 | Not set | UR | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/GE_UR_T60_Transformer_ED2.icd
D1TXB1BPU02 | T60 | GE Multilin | 2007 B | /10.11.13.3 | 7.70 | TXB1 | 2020.01.28 15:34 | Not set | UR | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/GE_UR_T60_Transformer_ED2.icd
D1TXB1MU03 | PMU010000 | Vizimax | 2007 B | /10.11.13.4 | 1.3 | TXB1 | 2020.01.28 15:34 | Not set | Vizimax Phasor measurement unit PMU010000 (with IEC61850-9-2 option) NOTE:v1.3 BETA for IOP use | Configured | Modified | NA | Unlocked | /stg/ICD FIles/LV/IncA/PMU010000_v1.3_beta_SCL_Ed2.icd
D1TXA1BPU01 | RET615 | ABB | 2007 B | /10.11.12.2 | G | Not Assigned | 2020.01.28 15:38 | Not set | RET615 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/RET615.icd
D1TXA1BPU02 | RET615 | ABB | 2007 B | /10.11.12.3 | G | Not Assigned | 2020.01.28 15:38 | Not set | RET615 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/RET615.icd
D1TXB1MUBCU | RET615 | ABB | 2007 B | /10.11.13.1 | G | TXB1 | 2020.01.28 15:39 | Not set | RET615 | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/RET615.icd
D1BPBBPU | SEL_487E | SEL | 2003 A | /10.11.14.1 | ICD-487E-R202-V0-Z306005-D20150421 | BP | 2020.01.28 16:06 | Not set | SEL 487E | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/SEL487E_01.ICD
D1BPMU | Siprotec-7SX8xx | SIEMENS | 2007 B | /10.11.14.2 | 1.0 | BP | 2020.01.28 16:18 | Not set |  | Configured | Modified | NA | Unlocked | /stg/ICD FIles/HV/MU01 V4.02 Side 1.icd